## base-pie
| Offshore NDE | 47.04% | Base NDE | Offshore | 188.43
| Onshore NDE | 38.74% |  | Onshore | 155.19
Base NDE | Solar PV NDE | 4.343% |  | CHP | 39.19
| CHP NDE | 9.783% |  | PV | 17.4
| Hydro RoR NDE | 0.09985% |  | Hydro | 0.4
|  |  |  | Total | 400.61
| Solar PV SDE | 49.55%
| Onshore SDE | 36.42% | Base SDE
Base SDE | CHP SDE | 11.35% |  | Onshore | 197.98
| Hydro RoR SDE | 2.678% |  | CHP | 61.71
|  |  |  | PV | 269.38
|  |  |  | Hydro | 14.56
|  |  |  | Total | 543.63
| GSHP NDE | 54.73%
Base NDE Heat | ASHP NDE | 13.19%
| CHP NDE | 32.08%
| GSHP SDE | 86.07%
Base SDE Heat | ASHP SDE | 2.516%
| CHP SDE | 11.41%

## con-pie
| Offshore NDE | 49.17%
| Onshore NDE | 29.58%
Base NDE | Solar PV NDE | 12.96%
| CHP NDE | 8.217%
| Hydro RoR NDE | 0.07624%
| Solar PV SDE | 49%
| Onshore SDE | 36.01%
Base SDE | CHP SDE | 12.34%
| Hydro RoR SDE | 2.648%
| GSHP NDE | 51.35%
Base NDE Heat | ASHP NDE | 14.61%
| CHP NDE | 34.04%
| GSHP SDE | 85.78%
Base SDE Heat | ASHP SDE | 1.537%
| CHP SDE | 12.69%

## pro-pie
| Offshore NDE | 33.71%
| Onshore NDE | 51.71%
Base NDE | Solar PV NDE | 2.702%
| CHP NDE | 11.75%
| Hydro RoR NDE | 0.1333%
| Solar PV SDE | 48.24%
| Onshore SDE | 38.17%
Base SDE | CHP SDE | 10.78%
| Hydro RoR SDE | 2.807%
| GSHP NDE | 54.79%
Base NDE Heat | ASHP NDE | 12.31%
| CHP NDE | 32.9%
| GSHP SDE | 84.67%
Base SDE Heat | ASHP SDE | 4.661%
| CHP SDE | 10.67%

## VG Investment v2.0
Onshore Wind | Scenario | NDE Capacity | SDE Capacity | NDE Investment | SDE Investment
| Base | 22.12 | 31.791 | 49.88 | 118.809
| Conservative | 22.12 | 31.791 | 49.88 | 118.809
| Progressive | 22.12 | 31.791 | 49.88 | 118.809
Offshore Wind | Scenario | NDE Capacity | NDE Investment
| Base | 6.658 | 54.4
| Conservative | 6.658 | 76.942
| Progressive | 6.658 | 26.13
Solar PV | Scenario | NDE Capacity | SDE Capacity | NDE Investment | SDE Investment
| Base | 7.564 | 37.664 | 8.65 | 188.066
| Conservative | 7.564 | 37.664 | 55.774 | 188.066
| Progressive | 7.564 | 37.664 | 0 | 172
Hydro RoR | Scenario | NDE Capacity | SDE Capacity | NDE Investment | SDE Investment
| Base | 0.0921 | 4.198 | 0.0559 | 1.099
| Conservative | 0.0921 | 4.198 | 0.0559 | 1.099
| Progressive | 0.0921 | 4.198 | 0.0559 | 1.099

## VG Cost v2.0
|  | NDE Investment | SDE Investment | Annual Cost |  |  |  | NDE Investment | SDE Investment | Annual Cost
Onshore Wind | Base | 53.621 | 127.7207 | 9.84 | Base NDE | 171.3365 | Base | 171.3365 | 210.9505 | 22.28
| Conservative | 53.621 | 127.7207 | 9.84 | Base SDE | 210.9505 | Conservative | 238.5387 | 210.9505 | 26.6
| Progressive | 53.621 | 127.7207 | 9.84 | Total | 382.2869 | Progressive | 108.4911 | 204.1207 | 17.62
Offshore Wind |  |  |  |  | Con NDE | 238.5387
| Base | 113.8592 |  | 7.92 | Con SDE | 210.9505
| Conservative | 161.0354 |  | 11.2 | Total | 449.4892
| Progressive | 54.6901 |  | 3.8
[5 empty] | Pro NDE | 108.4911
Solar PV |  |  |  |  | Pro SDE | 204.1207
| Base | 3.6763 | 79.9297 | 4.33 | Total | 312.6118
| Conservative | 23.7022 | 79.9297 | 5.37
| Progressive | 0 | 73.1 | 3.79
Hydro RoR
| Base | 0.18 | 3.3 | 0.19
| Conservative | 0.18 | 3.3 | 0.19
| Progressive | 0.18 | 3.3 | 0.19

## HG Investment v2.0
CHP | Scenario | NDE Capacity | SDE Capacity | NDE Investment | SDE Investment
| Base | 4.74 | 8.86 | 11.97 | 56.64
| Conservative | 4.74 | 8.86 | 20.06 | 53.56
| Progressive | 4.74 | 8.86 | 10.26 | 48
GSHP | Scenario | NDE Investment | SDE Investment
| Base | 17.56 | 119.8
| Conservative | 18.65 | 127.84
| Progressive | 14.93 | 99.98
ASHP
| Base | 12.09 | 23.96
| Conservative | 14.33 | 21.04
| Progressive | 11.2 | 28.82
TES | Scenario | NDE Investment | SDE Investment
| Base | 1.35 | 6.15
| Conservative | 0.9 | 4.1
| Progressive | 1.8 | 8.2
Heat Pump | Scenario | NDE Investment | SDE Investment
| Base | 29.65 | 143.76
| Conservative | 32.98 | 148.88
| Progressive | 26.13 | 128.8

## HG Cost v2.0
|  | NDE Investment | SDE Investment | Annual Cost |  |  |  | NDE Investment | SDE Investment | Annual Cost
CHP | Base | 23.3535 | 110.5046 | 8.71 | Base NDE | 60.632 | Base | 60.632 | 303.3826 | 27.18
| Conservative | 39.1371 | 104.4956 | 9.34 | Base SDE | 303.3826 | Conservative | 80.2936 | 305.5636 | 28.78
| Progressive | 20.0173 | 93.648 | 7.39 | Total | 364.0146 | Progressive | 52.6793 | 263.881 | 23.67
Heat Pump
| Base | 37.2785 | 192.878 | 18.47 | Con NDE | 80.2936
| Conservative | 41.1565 | 201.068 | 19.44 | Con SDE | 305.5636
| Progressive | 32.662 | 170.233 | 16.28 | Total | 385.8571
GSHP |  |  |  |  | Pro NDE | 52.6793
| Base | 24.584 | 167.72 | 15.43 | Pro SDE | 263.881
| Conservative | 26.11 | 178.976 | 16.46 | Total | 316.5603
| Progressive | 20.902 | 139.972 | 12.91
ASHP
| Base | 12.6945 | 25.158 | 3.04
| Conservative | 15.0465 | 22.092 | 2.98
| Progressive | 11.76 | 30.261 | 3.37

## Storage Investment v2.0
|  | NDE Power | SDE Power | NDE Energy | SDE Energy
Li-ion | Base | 2.82 | 12.83 | 18.32 | 83.42
| Conservative | 2.82 | 12.83 | 18.32 | 83.42
| Progressive | 2.82 | 12.83 | 18.32 | 83.42
|  | NDE Power | SDE Power | NDE Energy | SDE Energy
Redox | Base | 0.17 | 0.76 | 0.56 | 2.52
| Conservative |  |  | 0 | 0
| Progressive | 0.17 | 0.76 | 0.56 | 2.52
|  | NDE Power | NDE Energy
ACAES | Base | 0.15 | 2.5
Conservative
| Progressive | 0.51 | 5
|  | NDE Power | SDE Power | NDE Energy | SDE Energy
TES | Base | 1.35 | 6.15 | 97.2 | 442.8
| Conservative | 0.9 | 4.1 | 64.8 | 295.2
| Progressive | 1.8 | 8.2 | 129.6 | 590.4
Energy
|  | NDE Investment | SDE Investment
Li-ion | Base | 18.32 | 83.42
| Conservative | 18.32 | 83.42
| Progressive | 18.32 | 83.42
Redox | Base | 0.56 | 2.52
Conservative
| Progressive | 0.56 | 2.52
ACAES | Base | 2.5 | 0
| Conservative | 0 | 0
| Progressive | 5 | 0
TES | Base | 97.2 | 442.8
| Conservative | 64.8 | 295.2
| Progressive | 129.6 | 590.4

## Storage Cost (2)
|  | NDE Investment | SDE Investment | Annual Cost |  |  |  | NDE Investment | SDE Investment | Annual Cost
Li-ion | Base | 3.5245 | 16.0486 | 1.57 | Base NDE | 7.6084 | Base | 7.6084 | 33.0415 | 3.29
| Conservative | 3.5245 | 16.0486 | 1.57 | Base SDE | 33.0415 | Conservative | 6.0113 | 27.3772 | 2.67
| Progressive | 3.5245 | 16.0486 | 1.57 | Total | 40.6499 | Progressive | 9.2218 | 38.7058 | 3.86
Redox |  |  |  |  | Con NDE | 6.0113
| Base | 0.1412 | 0.6324 | 0.05 | Con SDE | 27.3772
| Conservative |  |  |  | Total | 33.3885
| Progressive | 0.1412 | 0.6324 | 0.05
[5 empty] | Pro NDE | 9.2218
ACAES |  |  |  |  | Pro SDE | 38.7058
| Base | 0.2125 |  | 0.01 | Total | 47.9275
Conservative
| Progressive | 0.5825 |  | 0.03
TES
| Base | 3.7301 | 16.9929 | 1.66
| Conservative | 2.4868 | 11.3286 | 1.1
| Progressive | 4.9735 | 22.6572 | 2.21

## Grid Sensitivity
Grid Capacity | Onshore Wind | Offshore Wind | Solar PV | Hydro RoR | CHP | Heat Pump
25 | 168.689 | 59.747 | 241.223 | 1.16 | 66.971 | 180.369
27.5 | 168.689 | 54.651 | 227.695 | 1.16 | 67.413 | 178.629
30 | 168.689 | 53.672 | 213.007 | 1.16 | 67.621 | 175.128
32.5 | 168.689 | 53.293 | 203.455 | 1.16 | 67.683 | 171.855
35 | 168.689 | 52.524 | 194.47 | 1.16 | 67.942 | 171.567
37.5 | 168.689 | 51.85 | 188.9 | 1.16 | 68.17 | 171.34
40 | 168.689 | 50.678 | 188.066 | 1.16 | 68.3 | 171.209
Grid Capacity | NDE to SDE | SDE to NDE
25 | 119.64 | 0.21
27.5 | 120.06 | 0.22
30 | 120.55 | 0.66
32.5 | 121.12 | 1.9
35 | 121.85 | 4.19
37.5 | 122.32 | 5.63
40 | 122.72 | 6

## storage sensitivity
Storage Expansion | Onshore Wind | Solar PV | Hydro RoR | Offshore Wind | CHP | Heat Pump
0% | 168.689 | 243.84 | 1.16 | 55.53 | 62.5 | 189.87
20% | 168.689 | 243.84 | 1.16 | 54.83 | 61.55 | 188.44
40% | 168.689 | 243.84 | 1.16 | 53.95 | 60.49 | 186.84
60% | 168.689 | 243.84 | 1.16 | 44.12 | 58.78 | 181.7
80% | 168.689 | 243.84 | 1.16 | 35.68 | 56.54 | 178.84
100% | 168.689 | 243.71 | 1.16 | 29.1 | 54.32 | 177.39
Storage Expansion | NDE to SDE | SDE to NDE
0% | 113.88 | 0.05
20% | 112.53 | 0.23
40% | 111.18 | 0.19
60% | 108.34 | 0.12
80% | 105.63 | 0.14
100% | 102.77 | 0.14

## 100% System v2.0
|  | MWh | TWh |  | Base | Conservative | Progressive | P | B
Base | Wind Onshore | 353173539.2 | 353.1735 | Onshore Wind | 353.1735 | 353.1735 | 353.1735 | 0.4313 | 0.37402
| Wind Offshore | 188436532 | 188.4365 | Offshore Wind | 188.4365 | 257.9799 | 101.1765 | 0.12356 | 0.19956
| Solar PV | 286782610 | 286.7826 | Solar PV | 286.7826 | 337.3516 | 258.3374 | 0.31549 | 0.30371
| CHP | 100909724 | 100.9097 | CHP | 100.9097 | 110.9469 | 91.1951 | 0.11137 | 0.10687
| Hydro RoR | 14970093 | 14.9701 | Hydro RoR | 14.9701 | 14.9701 | 14.9701 | 0.018282 | 0.015854
0
Con | Wind Onshore | 353173539 | 353.1735
| Wind Offshore | 257979902 | 257.9799
| Solar PV | 337351564 | 337.3516
| CHP | 110946877 | 110.9469
| Hydro RoR | 14970093 | 14.9701
0
Pro | Wind Onshore | 353173539 | 353.1735
| Wind Offshore | 101176521 | 101.1765
| Solar PV | 258337379 | 258.3374
| CHP | 91195138 | 91.1951
| Hydro RoR | 14970093 | 14.9701
|  | MWh | TWh |  | Base | Conservative | Progressive
Base | CHP | 100296483 | 100.2965 | CHP | 100.2965 | 110.8105 | 86.8794 | 0.17246
| GSHP | 527562031 | 527.562 | GSHP | 527.562 | 522.7716 | 468.0271
| ASHP | 29582961 | 29.583 | ASHP | 29.583 | 26.7083 | 35.736
0
Con | CHP | 110810511 | 110.8105
| GSHP | 522771604 | 522.7716
| ASHP | 26708311 | 26.7083
0
Pro | CHP | 86879355 | 86.8794
| GSHP | 468027110 | 468.0271
| ASHP | 35736005 | 35.736